## Slide 1: AcE Mentorship – Engineering
Session One – Site, Core/Shell, and Roof Planning

## Slide 2: AGENDA
Introduction
Primary goals
Sitework
Core & Shell
Roofing
Summary

## Slide 3: INTRODUCTION
To review the engineering of jobsite, Core/Shell components, and roofing layouts.​ This includes the selection of materials, water reclamation plans, and enclosing of structures.

## Slide 4: PRIMARY GOALS
To take engineering concepts and apply them to Students’ existing design.

## Slide 5: What is engineering? Definition: ​ “the application of science and mathematics by which the properties of matter and the sources of energy in nature are made useful to people.”
Reference: https://www.merriam-webster.com/dictionary/engineering

## Slide 6: Applied Engineering Concepts
Site Work
Core & Shell
Roofing Structure

## Slide 7: Commonalities - Constraints
End Use
Cost
Engineering
Re-evaluation
Does this make sense for the end user?
Is there funding for this concept?
Is the design safe and constructable? Does this meet the local and regional building codes?
A constant process.

## Slide 8: Sitework
Work Performed on the Jobsite

## Slide 9: SiteWork
Preparation of Jobsite by the removal of debris and shaping of jobsite.
Removal of excess or unsuitable soils for installation of foundation.
Erosion Control
Drainage / Water Systems
Protection of Worksite and Surrounding Areas from weathering, collapse, and runoff.
Creation of Water Remediation, both Temporary and Permanent.
Excavation / Shoring
Grading/Clearing

## Slide 10: Erosion Control
Erosion Control
Protects from Weather
Protects Environment, Jobsite, and Community

## Slide 11: Grading & Clearing
PURPOSE:
Clear of Debris on Jobsite
Grade and Level Plot Per Design
Prep Jobsite for Construction

## Slide 12: Grading & Clearing

## Slide 13: Excavation & Shoring
Removal of Unused Soil
Removal of Unsuitable Soils

## Slide 14: Excavation & Shoring
Shoring
Stabilize Soils & Surroundings
Protects Workers & Jobsite

## Slide 15: Drainage & Water Systems
Drainage
Temporary or Permanent Systems to Remove Water
Water Systems
Systems to Reclaim and Repurpose Water

## Slide 16: Drainage

## Slide 17: Drainage & Water Systems

## Slide 18: Core & Shell
Time to Build a Building

## Slide 19: Core & Shell
The core & shell is considered the skeleton (supporting structure) and enclosure of a permanent building. Also referred to as Base Building.

## Slide 20: Foundation
All permanent structures are based upon a foundation. Foundations provide strength of the building, prevent permeation of moisture, protect from weather elements, and help to control movements of earth.

## Slide 21: Foundation - Composition
Shallow
Isolated Spread Footing
Wall/Strip Footing
Deep
Pile
Pier
Cantilever/Strap Footing
Raft
Caisson

## Slide 22: Which one to select?
Use
Existing Conditions
Future Plans

## Slide 23: Core & Shell - Composition
Wood
Commonly used in residential and light commercial
Masonry & Concrete
Multiple use such as Base Building, Walls, or Floors
Steel
Used in taller structures
Glazing
Used in multiple structures

## Slide 24: Core & Shell - Composition
Wood
Pro – Resistance to Weather, Pests, Mold, Fire, Reclaimed Materials, Prefabrication
Con – Weight, Steel Reinforcement, Conduit Restrictions, Cost
Steel
Pro – Durability, Strength, Quick Assembly, Sustainable
Con – Rust, Material Availability, Conductor of Heat, Metal Fatigue
Glazing (Glass)
Pro – Transparency, Aesthetic Appeal, Weather Resistance, Sustainability
Con – Cost, Brittleness, Severe Weatherproofing, Glare, Heat Transparency, Maintenance
Masonry / Concrete
Con – Stability, Pests, Fire
Pro – Variation, Maintenance, Weight, Ease of Repair

## Slide 25: Core & Shell - Composition

## Slide 26: Core & Shell - Composition

## Slide 27: Which one to select?
Use
Existing Conditions
Future Plans

## Slide 28: Wall enclosures & Framing
Wood
Used as Internal Framing
Can Be Used in External Applications
Steel/Metal
Used as Internal Framing or Supporting Structure
Commonly used to protect high traffic industrial manufacturing walls or Corrugated Exterior Walls
Concrete/Masonry
Prefabricated used in External Applications (Concrete)
Composite Materials
External: Vinyl Siding, Metal Polystyrene Cladding Systems
Internal: Drywall, Tyvek, Ridged Foam, Tile, Plaster
Can be used in Interior/Exterior Applications

## Slide 29: Roofing
Enclosing the Building

## Slide 30: Roofing
The basic function of a roof is to offer protection for those items or individuals under its protection.
Also provides support to the walls or roof top mechanicals.

## Slide 31: Roofing Types
Hip
Commonly used in residential and light commercial
Gable
Commonly used in residential and light commercial
Flat
Commonly used in Commercial structures
x
s

## Slide 32: Roofing - Composition
Hip
Pro – Simple Design, Less Expensive, More Attic Space, Better Ventilation
Con – Prone to Damage in High Winds
Flat
Pro – Durability, Strength, Quick Assembly, Sustainable
Con – Rust, Material Availability, Conductor of Heat, Metal Fatigue
Gable
Con – More Complex, Less Attic Space
Pro – Self Bracing, Better Load Resistance

## Slide 33: Commercial Roofing

## Slide 34: Other Roofing Options
Skylight
Glass fixtures and sealing systems
ETFE & Inflatable Systems
Inflatable Membranes for Curved Roofs
Green Roof
Grass and Small Plants
Domed Structure
Self Supporting Structures – Similar to Arches

## Slide 35: Design to actualization
Applying Engineering to Design Concept

## Slide 36: Applied Engineering
Identify Each Design Structure
Room Type
Special Design Features
Roof type
Exterior Temp/Perm Feature
Select Material Composition
Supporting Structure
Exterior Fittings
Interior Composition (Walls)
Water Control
Integrate With Materials
Interior Walls
Finishes
Special Features

## Slide 37: Applied Engineering - Site Plan

## Slide 38: Applied Engineering – Foundation

## Slide 39: Applied Engineering – Core/Shell/Roofing

## Slide 40: Bringing this all together
Apply these concepts to your drawing.
What is your vision?

## Slide 41: THANK YOU
L. Jackson, V.A. Jump, K. Minderlein, B. Hopkins