## Slide 1: Mechanical systems
ACE Mentorship Program – old mill high school - Session Three

## Slide 2: Mechanicals - Goals
Goal: Understand the application of Mechanical Systems in building infrastructure.
What are mechanical systems?

## Slide 3: Mechanicals - Basic Elements
Water Distribution
Air Control
Misc. Infrastructure

## Slide 4: Water Distribution
Water Distribution Systems
  Carried throughout building via piping.
  Inputs and Outputs
  Used for sprinklers, cooling of HVAC, cooking, restrooms, and water fixtures.

## Slide 5: Water Distribution – Basic Components
Components
  Pipes – Main, hot/cold, and waste
    PEX, PVC, Copper, Cast Iron
  Water Valves
  Water Fixtures (Sinks, toilets, bibbs, faucets)
  Hot Water Heater

## Slide 8: Water Distribution – Sprinklers
Sprinklers systems work as a protection device to mitigate fire damage.
Though most commercial applications will be water based, in industrial applications the system may be a chemical based.

## Slide 9: Water Distribution – Sprinklers

## Slide 10: HVAC Systems

## Slide 11: HVAC Systems
HVAC: Heater Ventilation Air Conditioning
  Controls Interior Climate of Building
  Includes Heat, Cooling, Humidity Control
Special Applications
  Air Scrubbing Systems for Industrial Spaces
  Clean Systems for Biolabs and Physics Labs

## Slide 12: HVAC Systems
Major Components of a Building HVAC System
  Furnace/Chillers
  Air Conditioning Unit
  Air Handling Unit
  Duct Work/ Exhaust Systems
  Electrical Systems
  Water/Gas Pipes
  Controls

## Slide 13: HVAC Systems

## Slide 14: HVAC Systems – Air Conditioning
Air Conditioning Systems
  Removes Humidity from Air
  Cools Air

## Slide 15: Mechanical Systems - Heating
Heating of Water or Air Systems
  Natural Gas
  Electricity
  Oil
  Geothermal

## Slide 16: Miscellaneous Mechanical Systems

## Slide 17: Miscellaneous Mechanical Systems
Other Systems Include:
  Building Automation and Controls
  Security Systems
  Telecommunication Networks
  Elevators, Escalators, and other Lift Devices
  Kitchen Equipment

## Slide 19: Shared systems
Electricity
Natural Gas
Telecommunications

## Slide 20: Applied Engineering
Goals: Apply engineering concepts to drawing.
  Draw sprinkler systems, ductwork, and controls
  Add mechanicals to mechanical room.

## Slide 21: Thank You
someone@example.com